## Sensor_Catalog
Column Name | Description | Unit | Data Type | Category | Physical Sensor? | Identifier/Metadata? | Turbine Component | Statistic | Predictive Maintenance Relevance | Documentation Source | Missing Values | Min | Max | Notes
event_id | Source event-window file (filename == event_id) | int | int64 | Metadata | NO | YES | Provenance | value | Event-level evaluation and provenance. NEVER a model feature. | Raw dataset field | 0 | 0 | 92
time_stamp | Timestamp of the 10-minute aggregation interval | datetime | datetime64[ns] | Timestamp | NO | YES | Time index | value | Ordering and time-based splitting ONLY. Never a model feature. | Raw dataset field | 0
asset_id | Turbine identifier as supplied in the raw files | int | int64 | Identifier | NO | YES | Turbine | value | Grouping key. Values: 0, 10, 11, 13, 21. | Raw dataset field | 0 | 0 | 21
row_id_in_event | Per-file row counter; event_info indexes into it | int | int64 | Metadata | NO | YES | Provenance | value | LEAKAGE RISK: restarts at 0 in every file and encodes position inside an event window. Never a feature. | Raw dataset field | 0 | 0 | 56157
train_test | Benchmark split flag of the source event window | string | object | Train/prediction metadata | NO | YES | Metadata | value | LEAKAGE RISK: belongs to an event window, not an observation. 38,406 timestamps carry both values. | Raw dataset field | 0
status_type_id | Operating-status code | int | int64 | Status information | NO | YES | Turbine state | value | LEAKAGE RISK: code meanings NOT DOCUMENTED, and it is a near-perfect proxy for the event label. Permitted ONLY as a filter to select normal-operation rows for training. | Raw dataset field | 0 | 0 | 4
sensor_0_avg | Ambient temperature | degC | float64 | Temperature | YES | NO | Environment | average | MANDATORY CONDITIONING - every temperature must be referenced to ambient. On its own it is seasonal, NOT a fault signal. | feature_description.csv | 0 | 4 | 41
sensor_1_avg | Wind absolute direction | deg | float64 | Wind / orientation | YES | NO | Environment | average | LOW - angular signal. Yaw misalignment affects load. Must not be averaged naively (wraps at 360 deg). | feature_description.csv | 0 | 0 | 359 | ANGULAR - wraps at 360 deg; do not average or difference naively.
sensor_2_avg | Wind relative direction | deg | float64 | Wind / orientation | YES | NO | Environment | average | LOW - angular signal. Yaw misalignment affects load. Must not be averaged naively (wraps at 360 deg). | feature_description.csv | 0 | -180 | 180 | ANGULAR - wraps at 360 deg; do not average or difference naively.
wind_speed_3_avg | Windspeed | m/s | float64 | Wind | YES | NO | Environment | average | MANDATORY CONDITIONING - primary driver of load; used for power-curve deviation. | feature_description.csv | 0 | 0.4 | 26.6
wind_speed_4_avg | Estimated windspeed | m/s | float64 | Wind | YES | NO | Environment | average | MANDATORY CONDITIONING - primary driver of load; used for power-curve deviation. | feature_description.csv | 0 | 0 | 26.6
wind_speed_3_max | Windspeed | m/s | float64 | Wind | YES | NO | Environment | maximum | MANDATORY CONDITIONING - primary driver of load; used for power-curve deviation. | feature_description.csv | 0 | 0.4 | 70
wind_speed_3_min | Windspeed | m/s | float64 | Wind | YES | NO | Environment | minimum | MANDATORY CONDITIONING - primary driver of load; used for power-curve deviation. | feature_description.csv | 0 | 0.4 | 14.6
wind_speed_3_std | Windspeed | m/s | float64 | Wind | YES | NO | Environment | std_dev | MANDATORY CONDITIONING - primary driver of load; used for power-curve deviation. | feature_description.csv | 0 | 0 | 70
sensor_5_avg | Pitch angle | deg | float64 | Pitch | YES | NO | Pitch system | average | MEDIUM - the hydraulic group actuates pitch, so erratic pitch may reflect hydraulic wear. | feature_description.csv | 0 | -2.3 | 90 | ANGULAR - wraps at 360 deg; do not average or difference naively.
sensor_5_max | Pitch angle | deg | float64 | Pitch | YES | NO | Pitch system | maximum | MEDIUM - the hydraulic group actuates pitch, so erratic pitch may reflect hydraulic wear. | feature_description.csv | 0 | -2.2 | 90 | ANGULAR - wraps at 360 deg; do not average or difference naively.
sensor_5_min | Pitch angle | deg | float64 | Pitch | YES | NO | Pitch system | minimum | MEDIUM - the hydraulic group actuates pitch, so erratic pitch may reflect hydraulic wear. | feature_description.csv | 0 | -5 | 90 | ANGULAR - wraps at 360 deg; do not average or difference naively.
sensor_5_std | Pitch angle | deg | float64 | Pitch | YES | NO | Pitch system | std_dev | MEDIUM - the hydraulic group actuates pitch, so erratic pitch may reflect hydraulic wear. | feature_description.csv | 0 | 0 | 45.5 | ANGULAR - wraps at 360 deg; do not average or difference naively.
sensor_6_avg | Temperature in the hub controller | degC | float64 | Temperature | YES | NO | Control cabinet | average | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | 11 | 52
sensor_7_avg | Temperature in the top nacelle controller | degC | float64 | Temperature | YES | NO | Nacelle | average | LOW/REFERENCE - internal reference temperature; nose cone tracks ambient closely. | feature_description.csv | 0 | 22 | 59
sensor_8_avg | Temperature in the choke coils on the VCS-section | degC | float64 | Temperature | YES | NO | Control cabinet | average | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | 13 | 149
sensor_9_avg | Temperature on the VCP-board | degC | float64 | Temperature | YES | NO | Control cabinet | average | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | 25 | 66
sensor_10_avg | Temperature in the VCS cooling water | degC | float64 | Temperature | YES | NO | Control cabinet | average | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | 20 | 56
sensor_11_avg | Temperature in gearbox bearing on high speed shaft | degC | float64 | Temperature | YES | NO | Gearbox | average | HIGH - directly targets the 3 gearbox-related anomalies (2 Gearbox failure + 1 Gearbox bearings damaged). | feature_description.csv | 0 | 15 | 72
sensor_12_avg | Temperature oil in gearbox | degC | float64 | Temperature | YES | NO | Gearbox | average | HIGH - directly targets the 3 gearbox-related anomalies (2 Gearbox failure + 1 Gearbox bearings damaged). | feature_description.csv | 0 | 15 | 65
sensor_13_avg | Temperature in generator bearing 2 (Drive End) | degC | float64 | Temperature | YES | NO | Generator bearing | average | HIGH - directly targets the 2 Generator bearing failures. The drive-end minus non-drive-end difference is self-normalising. | feature_description.csv | 0 | 13 | 205
sensor_14_avg | Temperature in generator bearing 1 (Non-Drive End) | degC | float64 | Temperature | YES | NO | Generator bearing | average | HIGH - directly targets the 2 Generator bearing failures. The drive-end minus non-drive-end difference is self-normalising. | feature_description.csv | 20 | 12 | 205
sensor_15_avg | Temperature inside generator in stator windings phase 1 | degC | float64 | Temperature | YES | NO | Generator | average | MEDIUM - generator electrical condition; phase-to-phase divergence indicates a fault. | feature_description.csv | 0 | 14 | 205
sensor_16_avg | Temperature inside generator in stator windings phase 2 | degC | float64 | Temperature | YES | NO | Generator | average | MEDIUM - generator electrical condition; phase-to-phase divergence indicates a fault. | feature_description.csv | 0 | 14 | 205
sensor_17_avg | Temperature inside generator in stator windings phase 3 | degC | float64 | Temperature | YES | NO | Generator | average | MEDIUM - generator electrical condition; phase-to-phase divergence indicates a fault. | feature_description.csv | 0 | 14 | 205
sensor_18_avg | Generator rpm in latest period | rpm | float64 | Speed (rotational) | YES | NO | Generator | average | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 1684.4
sensor_18_max | Generator rpm in latest period | rpm | float64 | Speed (rotational) | YES | NO | Generator | maximum | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 2040.9
sensor_18_min | Generator rpm in latest period | rpm | float64 | Speed (rotational) | YES | NO | Generator | minimum | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 1675.5
sensor_18_std | Generator rpm in latest period | rpm | float64 | Speed (rotational) | YES | NO | Generator | std_dev | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 823.2
sensor_19_avg | Temperature in the split ring chamber | degC | float64 | Temperature | YES | NO | Slip ring / brush gear | average | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | 10 | 205
sensor_20_avg | Temperature in the busbar section | degC | float64 | Temperature | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 17 | 77
sensor_21_avg | Temperature measured by the IGBT-driver on the grid side inverter | degC | float64 | Temperature | YES | NO | Converter | average | MEDIUM - converter thermal condition. | feature_description.csv | 0 | 24 | 59
sensor_22_avg | Actual phase displacement | (none given) | float64 | Electrical - power factor | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 20 | 0.2 | 1
sensor_23_avg | Averaged current in phase 1 | A | float64 | Electrical - current | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 1701.8
sensor_24_avg | Averaged current in phase 2 | A | float64 | Electrical - current | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 1 | 1717.6
sensor_25_avg | Averaged current in phase 3 | A | float64 | Electrical - current | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 1 | 1690.5
sensor_26_avg | Grid frequency | Hz | float64 | Electrical - grid | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 50.1
reactive_power_27_avg | Possible grid capacitive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 0.4878 | Values are NORMALISED to ~0-1 despite the documented unit.
reactive_power_27_max | Possible grid capacitive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | maximum | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 0.4878 | Values are NORMALISED to ~0-1 despite the documented unit.
reactive_power_27_min | Possible grid capacitive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | minimum | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | -0.0976 | 0.4878 | Values are NORMALISED to ~0-1 despite the documented unit.
reactive_power_27_std | Possible grid capacitive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | std_dev | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 0.2439 | Values are NORMALISED to ~0-1 despite the documented unit.
reactive_power_28_avg | Possible grid inductive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | -0.4878 | 0 | Values are NORMALISED to ~0-1 despite the documented unit.
reactive_power_28_max | Possible grid inductive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | maximum | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | -0.4878 | 0.0976 | Values are NORMALISED to ~0-1 despite the documented unit.
reactive_power_28_min | Possible grid inductive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | minimum | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | -0.4878 | 0 | Values are NORMALISED to ~0-1 despite the documented unit.
reactive_power_28_std | Possible grid inductive reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | std_dev | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 0.2439 | Values are NORMALISED to ~0-1 despite the documented unit.
power_29_avg | Possible grid active power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | average | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | 0 | 0.9756 | Values are NORMALISED to ~0-1 despite the documented unit.
power_29_max | Possible grid active power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | maximum | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | 0 | 0.9756 | Values are NORMALISED to ~0-1 despite the documented unit.
power_29_min | Possible grid active power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | minimum | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | 0 | 0.9756 | Values are NORMALISED to ~0-1 despite the documented unit.
power_29_std | Possible grid active power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | std_dev | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | 0 | 0.4876 | Values are NORMALISED to ~0-1 despite the documented unit.
power_30_avg | Grid power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | average | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | -0.0157 | 0.976 | Values are NORMALISED to ~0-1 despite the documented unit.
power_30_max | Grid power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | maximum | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | -0.014 | 1.0344 | Values are NORMALISED to ~0-1 despite the documented unit.
power_30_min | Grid power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | minimum | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | -0.0441 | 0.9749 | Values are NORMALISED to ~0-1 despite the documented unit.
power_30_std | Grid power | kW | float64 | Electrical - active power | YES | NO | Grid / electrical | std_dev | MEDIUM - the load variable. Mandatory conditioning input, and supports power-curve deviation. NOTE: values are normalised to 0-1, not kW. | feature_description.csv | 0 | 0 | 0.4951 | Values are NORMALISED to ~0-1 despite the documented unit.
sensor_31_avg | Grid reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | -0.2882 | 0.4878 | SCALE INCONSISTENCY: _avg is normalised (-0.29..0.49) while _max/_min/_std are raw kVAr (-1002..1003). In 79.4% of rows _avg > _max, which is impossible in shared units.
sensor_31_max | Grid reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | maximum | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | -575.8 | 1003.3 | SCALE INCONSISTENCY: _avg is normalised (-0.29..0.49) while _max/_min/_std are raw kVAr (-1002..1003). In 79.4% of rows _avg > _max, which is impossible in shared units.
sensor_31_min | Grid reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | minimum | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | -1002.8 | 997.6 | SCALE INCONSISTENCY: _avg is normalised (-0.29..0.49) while _max/_min/_std are raw kVAr (-1002..1003). In 79.4% of rows _avg > _max, which is impossible in shared units.
sensor_31_std | Grid reactive power | kVAr | float64 | Electrical - reactive power | YES | NO | Grid / electrical | std_dev | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 575.7 | SCALE INCONSISTENCY: _avg is normalised (-0.29..0.49) while _max/_min/_std are raw kVAr (-1002..1003). In 79.4% of rows _avg > _max, which is impossible in shared units.
sensor_32_avg | Averaged voltage in phase 1 | V | float64 | Electrical - voltage | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 419.7
sensor_33_avg | Averaged voltage in phase 2 | V | float64 | Electrical - voltage | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 418.1
sensor_34_avg | Averaged voltage in phase 3 | V | float64 | Electrical - voltage | YES | NO | Grid / electrical | average | MEDIUM - phase imbalance in current/voltage indicates winding or connection faults. | feature_description.csv | 0 | 0 | 419.7
sensor_35_avg | Temperature measured by the IGBT-driver on the rotor side inverter phase1 | degC | float64 | Temperature | YES | NO | Converter | average | MEDIUM - converter thermal condition. | feature_description.csv | 0 | 24 | 98
sensor_36_avg | Temperature measured by the IGBT-driver on the rotor side inverter phase2 | degC | float64 | Temperature | YES | NO | Converter | average | MEDIUM - converter thermal condition. | feature_description.csv | 0 | 24 | 61
sensor_37_avg | Temperature measured by the IGBT-driver on the rotor side inverter phase3 | degC | float64 | Temperature | YES | NO | Converter | average | MEDIUM - converter thermal condition. | feature_description.csv | 0 | 24 | 104
sensor_38_avg | Temperature in HV transformer phase L1 | degC | float64 | Temperature | YES | NO | HV transformer | average | MEDIUM - directly targets the 1 Transformer failure. Phase spread is the meaningful quantity. | feature_description.csv | 0 | 28 | 107
sensor_39_avg | Temperature in HV transformer phase L2 | degC | float64 | Temperature | YES | NO | HV transformer | average | MEDIUM - directly targets the 1 Transformer failure. Phase spread is the meaningful quantity. | feature_description.csv | 0 | 28 | 122
sensor_40_avg | Temperature in HV transformer phase L3 | degC | float64 | Temperature | YES | NO | HV transformer | average | MEDIUM - directly targets the 1 Transformer failure. Phase spread is the meaningful quantity. | feature_description.csv | 0 | 27 | 137
sensor_41_avg | Temperature oil in hydraulic group | degC | float64 | Temperature | YES | NO | Hydraulic group | average | HIGH - the only direct observation of the hydraulic group, which is the failure mode in 6 of 12 documented anomalies. | feature_description.csv | 0 | 20 | 55
sensor_42_avg | Nacelle direction | deg | float64 | Wind / orientation | YES | NO | Nacelle | average | LOW/REFERENCE - internal reference temperature; nose cone tracks ambient closely. | feature_description.csv | 0 | 0 | 359 | ANGULAR - wraps at 360 deg; do not average or difference naively.
sensor_43_avg | Nacelle temperature | degC | float64 | Temperature | YES | NO | Nacelle | average | LOW/REFERENCE - internal reference temperature; nose cone tracks ambient closely. | feature_description.csv | 0 | 15 | 51
sensor_44 | Active power - generator disconnected | Wh | float64 | Electrical - active power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | -5278 | 1416
sensor_45 | Active power - generator connected in delta | Wh | float64 | Electrical - active power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | -1864 | 372865
sensor_46 | Active power - generator connected in star | Wh | float64 | Electrical - active power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | 0 | 0 | CONSTANT ZERO across all 1,196,747 observations - no information. EXCLUDE.
sensor_47 | Reactive power - generator disconnected | VArh | float64 | Electrical - reactive power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | -5849 | 3326
sensor_48 | Reactive power - generator connected in delta | VArh | float64 | Electrical - reactive power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | -98475 | 166806
sensor_49 | Reactive power - generator connected in star | VArh | float64 | Electrical - reactive power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | 0 | 0 | CONSTANT ZERO across all 1,196,747 observations - no information. EXCLUDE.
sensor_50 | Total active power | Wh | float64 | Electrical - active power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | -5367 | 371256
sensor_51 | Total reactive power | VArh | float64 | Electrical - reactive power | YES | NO | Not documented. | value | LOW - documented, but no direct link to a failure mode present in this dataset. | feature_description.csv | 0 | -98475 | 166806
sensor_52_avg | Rotor rpm | rpm | float64 | Speed (rotational) | YES | NO | Rotor / hub | average | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 14.9
sensor_52_max | Rotor rpm | rpm | float64 | Speed (rotational) | YES | NO | Rotor / hub | maximum | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 19.6
sensor_52_min | Rotor rpm | rpm | float64 | Speed (rotational) | YES | NO | Rotor / hub | minimum | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 14.8
sensor_52_std | Rotor rpm | rpm | float64 | Speed (rotational) | YES | NO | Rotor / hub | std_dev | MEDIUM - required to interpret every temperature. generator_rpm / rotor_rpm gives a gearbox-ratio integrity indicator (~113:1, std 0.42-0.45). | feature_description.csv | 0 | 0 | 7.4
sensor_53_avg | Temperature in the nose cone | degC | float64 | Temperature | YES | NO | Rotor / hub | average | LOW/REFERENCE - internal reference temperature; nose cone tracks ambient closely. | feature_description.csv | 0 | 6 | 47
time_offset_days | Timestamp correction applied to this event file | days | float64 | Metadata | NO | YES | Provenance | value | 0 for 20 files; 1.0 for events 40 and 71. | Derived in this project | 0 | 0 | 1
time_stamp_aligned | Timestamp moved onto the common Wind Farm A timeline | datetime | datetime64[ns] | Timestamp | NO | YES | Time index | value | Use this when merging event files. Events 40 and 71 carry a +1 day native offset. | Derived in this project | 0
turbine_uid | Turbine identifier used in this project | string | object | Identifier | NO | YES | Turbine | value | Grouping key for per-turbine models and splits. Never a feature. | Derived in this project | 0

## How_To_Read
Field | Value
-- HOW TO READ THIS FILE --
Purpose | Every column of the Wind Farm A dataset, with its documented meaning, unit, component and predictive-maintenance relevance.
Rule | Descriptions and units are copied VERBATIM from feature_description.csv. Nothing is invented. Anything the documentation does not cover reads 'Not documented.'
Total columns catalogued | 90
Physical sensor columns | 81
Identifier / metadata / status columns | 9
Documented base signals | 54
-- WHY THERE ARE MORE COLUMNS THAN SIGNALS --
Explanation | feature_description.csv documents each BASE SIGNAL once. The data expands several of them into _avg / _max / _min / _std aggregates of the same 10-minute interval. The 'Statistic' column records which aggregate each one is.
-- CATEGORIES --
Temperature | 25
Electrical - reactive power | 16
Electrical - active power | 12
Speed (rotational) | 8
Wind | 5
Pitch | 4
Wind / orientation | 3
Electrical - current | 3
Electrical - voltage | 3
Electrical - power factor | 1
Electrical - grid | 1
-- SENSOR TYPES THAT DO NOT EXIST --
Vibration / acceleration / acoustic | ABSENT. No such channel exists. Bearing and gearbox faults must be inferred thermally.
Pressure (incl. oil pressure) | ABSENT. Only oil TEMPERATURE exists.
Note on sensor_22 | 'Actual phase displacement' is an ELECTRICAL power-factor quantity, NOT mechanical vibration.